## Worksheet
CLIENT'S INFORMATION:
PROJECT ID: Torre Residence |  |  |  | CONTACT:
E-MAIL ADDRESS:
SCOPE: Everything |  |  |  | PHONE NUMBER:
|  |  |  | Date: | 2022-06-07
ITEM # | DESCRIPTION | QUANTITY | UNIT | MATERIAL UNIT COST | TOTAL COST | TRADE COST
GENERAL REQUIREMENTS
1 | Supervision | 1 | LS | 0 | 0
2 | Permits | 1 | LS | 0 | 0
3 | Final Clean-up | 1 | LS | 0 | 0
4 | Mobilization Costs | 1 | LS | 0 | 0
5 | Project Overheads | 1 | LS | 0 | 0
6 | Bonds | 1 | LS | 0 | 0
7 | Temporary Control & Facilities | 1 | LS | 0 | 0
8 | Scaffolding | 5669 | SF | 4 | 22676
| Subtotal (General Requirements) |  |  |  |  | 22676
DIVISION 02- SITE/DEMO
Demolition
First Floor
9 | Existing Door To Be Removed | 10 | EA | 45 | 450
10 | Existing Window To Be Removed | 11 | EA | 45 | 495
11 | Existing Screen Enclosure To Be Removed | 33.2 | LF | 5 | 166
12 | Existing Framed Partition To Be Demolished | 61.4 | LF | 5 | 307
13 | Existing Skylight To Be Removed | 1 | EA | 45 | 45
14 | Existing Flooring & Ceiling To Be Replaced | 1885.5 | SF | 2 | 3771
15 | Existing Steps To Be Redesigned | 1 | EA | 20 | 20
16 | Remove All Cabinets | 55.8 | LF | 7 | 390.6
17 | Existing Column To Be Removed | 1 | EA | 35 | 35
18 | Remove Kitchen Appliances | 1 | EA | 40 | 40
19 | Remove Plumbing Fixtures | 7 | EA | 60 | 420
20 | Remove All Finishes | 118.11 | SF | 2 | 236.22
21 | Remove Countertop | 92.92 | SF | 2 | 185.84
22 | Remove Wall Finishes | 381.27 | LF | 5 | 1906.35
23 | Remove Wall Tiles | 67.44 | LF | 5 | 337.2
24 | Remove Electrical,Mechanical & Plumbing Piping | 1 | LS | 3000 | 3000
25 | Trees To Be Removed | 13 | EA | 70 | 910
26 | Existing Column To Be Removed | 4 | EA | 35 | 140
Second Floor
27 | Existing Door To Be Removed | 8 | EA | 45 | 360
28 | Existing Window To Be Removed | 12 | EA | 45 | 540
29 | Remove Railing | 19.14 | LF | 5 | 95.7
30 | Existing Framed Partition To Be Demolished | 198.56 | LF | 5 | 992.8
31 | Remove Bath Finishes & Millwork | 532.66 | SF | 2 | 1065.32
32 | Remove Plumbing Fixtures | 14 | EA | 60 | 840
33 | Remove Flooring & Ceiling | 719.05 | SF | 2 | 1438.1
34 | Remove Wall Finishes | 435.72 | LF | 5 | 2178.6
35 | Remove Electrical,Mechanical & Plumbing Piping | 1 | LS | 3000 | 3000
Site
36 | New Driveway (Loose Gravel) | 1143.86 | SF | 8 | 9150.88
37 | (10'-0"x10'-0") Visibility Triangles | 2 | EA | 400 | 800
38 | New Eqipment Pad | 66.77 | SF | 7 | 467.39
39 | New Wood Deck | 243.46 | SF | 10 | 2434.6
40 | Existing Pavers To Be Replaced | 834.94 | SF | 12 | 10019.28
41 | FPL Pole Mounted Transformer | 1 | EA | 10000 | 10000
42 | (4") PVC Pipe | 61.1 | LF | 14 | 855.4
43 | Clean Out | 3 | EA | 300 | 900
44 | Septic Tank W/ 1350 Gallons | 1 | EA | 2500 | 2500
45 | Distribution Box | 1 | EA | 1200 | 1200
46 | Generator 15 Kw | 1 | EA | 12000 | 12000
Trees & Plant
47 | Bursera Simaruba 'BS' | 4 | EA | 170 | 680
48 | Lignum Vitae 'LIG' | 2 | EA | 170 | 340
49 | Dypsis Cabadae 'DC' | 6 | EA | 170 | 1020
50 | Caesalpinia Granadillo 'CAG' | 2 | EA | 170 | 340
51 | Bambusa Malingensis 'BTX' | 14 | EA | 170 | 2380
52 | Beaucarnea Recurvata 'BR' | 1 | EA | 170 | 170
53 | Myrcianthes Fragrans 'MF' | 3 | EA | 170 | 510
54 | Cocos Nucifera 'CN' | 2 | EA | 170 | 340
55 | Licuala Grandis 'LIC' | 7 | EA | 170 | 1190
56 | Dypsis Leptocheilos 'TED' | 4 | EA | 170 | 680
57 | Pandanus Utilis 'PU' | 1 | EA | 170 | 170
58 | Bambusa Chungii 'BC' | 1 | EA | 170 | 170
59 | Adansonia Digitata 'BAO' | 1 | EA | 170 | 170
60 | Ravenala Madagascariensis 'TRA' | 3 | EA | 170 | 510
61 | Caryota Mitis 'CU' | 7 | EA | 170 | 1190
Shrubs & Ground Cover
62 | Anturio 'GIN' | 12 | EA | 120 | 1440
63 | Anturio 'ANT' | 3 | EA | 120 | 360
64 | Peace Lily 'SP' | 10 | EA | 120 | 1200
65 | Orange Bird 'STR' | 10 | EA | 120 | 1200
66 | Tree Fern 'TFR' | 5 | EA | 120 | 600
67 | Raphis 'RE' | 12 | EA | 120 | 1440
68 | Fishtail Palm 'CU' | 7 | EA | 120 | 840
69 | Gardenia 'Gar' | 6 | EA | 120 | 720
70 | Xandau 'PX' | 90 | EA | 120 | 10800
71 | Jamaican Caper 'Jam' | 55 | EA | 120 | 6600
72 | Cycad 'CY' | 11 | EA | 120 | 1320
73 | Heliconia 'HEL' | 12 | EA | 120 | 1440
74 | Giant Phillodendron 'PGI' | 2 | EA | 120 | 240
75 | White Begonia 'WBG' | 55 | EA | 120 | 6600
76 | Imperial Bromeliad 'AL' | 14 | EA | 120 | 1680
77 | Red Congo 'PHR' | 60 | EA | 120 | 7200
78 | Silver Bay 'AGL' | 15 | EA | 120 | 1800
79 | Alocasia 'ALO' | 25 | EA | 120 | 3000
80 | Monsteria 'MD' | 30 | EA | 120 | 3600
81 | Burle Marx 'PHB' | 150 | SF | 2 | 300
82 | Wart Fern 'WFR' | 150 | SF | 2 | 300
83 | Liriope Superblue 'LIR' | 280 | SF | 2 | 560
84 | Peanuts 'PEA' | 100 | SF | 2 | 200
| Subtotal (Site) |  |  |  |  | 136993.28
DIVISION 03- CONCRETE
Ground Floor
Concrete Column
85 | (8"x12") Concrete Column 'TC1' Reinf W/ (1 EA & 10'-0" H) 4#5 Long Bars | 0.24 | CY | 725 | 174
86 | (8"x16") Concrete Column 'TC' Reinf W/ (8 EA & 10'-0" H) 6#5 Long Bars | 2.63 | CY | 725 | 1906.75
Footings
87 | (4'-0"x4'-0"x12") Footing 'F-4' Reinf W/ (2 EA) 5#5 EW Bottom Reinf & 5#5 EW Top Reinf | 1.18 | CY | 725 | 855.5
88 | (3'-0"x3'-0"x12") Footing 'F-3' Reinf W/ (3 EA) 4#5 EW Bottom Reinf & 4#5 EW Top Reinf | 1 | CY | 725 | 725
89 | (3'-6"x1'-6"x12") Footing 'F-3.5x1.5' Reinf W/ (1 EA) 4#5 Short & 2#5 Long | 0.194 | CY | 725 | 140.65
2nd Floor
Beams
90 | (8"x16") Beam '2B-1' W/ (18 LF) #3 @ 8" O.C Stirrups | 0.59 | CY | 725 | 427.75
91 | (8") Beam '2B-5' W/ (13 LF) #3 @ 8" O.C Stirrups | 0.64 | CY | 725 | 464
92 | (8"x16") Beam '2B-4' W/ (18 LF) #3 @ 8" O.C Stirrups | 0.59 | CY | 725 | 427.75
Concrete Column
93 | (8"x16") Concrete Column 'TC' Reinf W/ (4 EA & 10'-0" H) 6#5 Long Bars | 1.31 | CY | 0 | 0
Roof
Beams
94 | (8"x24") Beam 'TB-1' W/ (23 LF) 4#3 @ 12" O.C Corners | 1.13 | CY | 725 | 819.25
95 | (8"x12") Beam 'TB' W/ (45 LF) 4#3 @ 12" O.C Corners | 1.11 | CY | 725 | 804.75
96 | (8"x12") Beam 'RB-2' W/ (27 LF) #3 @ 8" O.C Stirrups | 0.66 | CY | 725 | 478.5
97 | (8"x18") Beam 'RB-1' W/ (20 LF) #3 @ 7" O.C Stirrups | 0.74 | CY | 725 | 536.5
| Subtotal (Concrete) |  |  |  |  | 7760.4
DIVISION 04- MASONRY
Ground Floor
CMU Wall
98 | (8") Bearing CMU Wall Reinf W/ (36 LF & 10'-0" H) #5 Rebar @ 32" In C.L Of Filled Cell | 359.7 | SF | 8 | 2877.6
99 | New Rebar Into Existing Wall. #5 Dowel Bar (12 EA & 10'-0" H) | 120 | LF | 4 | 480
2nd Floor
CMU Wall
100 | (8") Bearing CMU Wall Reinf W/ (69 LF & 10'-0" H) #5 Rebar @ 32" In C.L Of Filled Cell | 685.9 | SF | 8 | 5487.2
101 | New Rebar Into Existing Wall. #5 Dowel Bar (20 EA & 10'-0" H) | 200 | LF | 4 | 800
| Subtotal (Masonry) |  |  |  |  | 9644.8
DIVISION 05- METAL
Ground Floor
Steel Column
102 | Steel Column 'SC' W/ (4 EA & 10'-0" H) Bottom Steel Plate | 40 | LF | 45 | 1800
103 | Steel Column 'SC1' W/ (1 EA & 10'-0" H) Bottom Steel Plate | 10 | LF | 45 | 450
| Subtotal (Metal) |  |  |  |  | 2250
DIVISION 06- WOOD
2nd Floor
Wood Trusses
104 | New Prefab Wood Trusses @ 24" O.C 'T-1' | 363.53 | SF | 12 | 4362.36
105 | New Prefab Wood Trusses @ 24" O.C 'T-2' | 243.57 | SF | 12 | 2922.84
106 | New Prefab Wood Trusses @ 24" O.C 'T-3' | 343.65 | SF | 12 | 4123.8
107 | New Prefab Wood Trusses @ 24" O.C 'T-6' | 289.02 | SF | 12 | 3468.24
108 | (2x10) PT Wood Rafters @ 24" O.C 'R-1' | 102.18 | SF | 10 | 1021.8
Sheathing
109 | (5/8") Ply Wood Sheathing | 1341.51 | SF | 4 | 5366.04
Miscellaneous
110 | One Line (2x4) Blocking | 174.89 | LF | 6 | 1049.34
111 | (2x4) Bottom Chord Bracing @ 8'-0" | 74.65 | LF | 6 | 447.9
112 | Two Line (2x4) Blocking | 41.08 | LF | 6 | 246.48
113 | GT-1 (2-PL) | 36.11 | LF | 12 | 433.32
114 | GT-2 (2-PL) | 12.24 | LF | 12 | 146.88
Roof
Wood Trusses
115 | New Prefab Wood Trusses @ 24" O.C 'T-4' | 176.1 | SF | 12 | 2113.2
116 | New Prefab Wood Trusses @ 24" O.C 'T-5' | 363.11 | SF | 12 | 4357.32
117 | New Prefab Wood Trusses @ 24" O.C 'T-6' | 91.38 | SF | 12 | 1096.56
118 | New Prefab Wood Trusses @ 24" O.C | 233.58 | SF | 12 | 2802.96
119 | Piggy Back Valley Trusses @ 24" O.C | 87.31 | SF | 12 | 1047.72
Sheathing
120 | (5/8") Ply Wood Sheathing | 1149.94 | SF | 4 | 4599.76
Miscellaneous
121 | (2x4) Bottom Chord Bracing @ 8'-0" | 70.65 | LF | 6 | 423.9
122 | Two Line (2x4) Blocking | 12.19 | LF | 6 | 73.14
123 | One Line (2x4) Blocking | 53.35 | LF | 6 | 320.1
| Subtotal (Wood) |  |  |  |  | 40423.66
DIVISION 07- THERMAL & MOISTURE PROTECTION
124 | New Roof Flat Concrete Tiles | 2789 | SF | 8 | 22312
125 | Gutter | 406.27 | LF | 13 | 5281.51
126 | Cont Galv Metal Drip Edge | 406 | LF | 11 | 4466
127 | Fascia | 406 | LF | 9 | 3654
| Subtotal (Roofing) |  |  |  |  | 35713.51
DIVISION 08- OPENINGS
Windows
128 | (6'-0"x7'-9") Aluminum Fixed Window 'A' | 1 | EA | 3022.5 | 3022.5
129 | (5'-3"x6'-3") Aluminum Fixed Window 'B' | 2 | EA | 2132.8125 | 4265.625
130 | (9'-3"x14'-9") Aluminum Fixed Window 'C' | 1 | EA | 8868.4375 | 8868.4375
131 | (7'-9"x12'-0") Aluminum Fixed Window 'D' | 1 | EA | 6045 | 6045
132 | (6'-0"x4'-9") Aluminum Casement Window 'E' | 1 | EA | 1852.5 | 1852.5
133 | (10'-3"x6'-0") Aluminum Casement Window 'F' | 1 | EA | 3997.5 | 3997.5
134 | (6'-0"x6'-0") Aluminum Casement Window 'G' | 1 | EA | 2340 | 2340
135 | (5'-0"x4'-6") Aluminum Casement Window 'H' | 1 | EA | 1462.5 | 1462.5
136 | (5'-3"x4'-9") Aluminum Casement Window 'I' | 1 | EA | 1620.9375 | 1620.9375
137 | (4'-0"x5'-6") Aluminum Casement Window 'J' | 10 | EA | 1430 | 14300
138 | (2'-8"x5'-6") Aluminum Fixed Window 'K' | 6 | EA | 950.95 | 5705.7
139 | (2'-4"x4'-0") Aluminum Fixed Window 'L' | 5 | EA | 605.8 | 3029
140 | (24" Dia) Aluminum Fixed Window 'M' | 1 | EA | 260 | 260
141 | (5'-4"x5'-6") Aluminum Casement Window 'N' | 1 | EA | 1905.475 | 1905.475
Doors
142 | (6'-2"x7'-9") Aluminum Glass Door W/ Frame | 1 | EA | 3072.875 | 3072.875
143 | (12'-0"x9'-0") Aluminum Glass Door W/ Frame | 2 | EA | 7020 | 14040
144 | (5'-10"x7'-9") Aluminum Glass Door W/ Frame | 1 | EA | 2936.8625 | 2936.8625
145 | (3'-0"x7'-6") Aluminum Glass Door W/ Frame | 2 | EA | 1462.5 | 2925
146 | (2'-8"x6'-8") Solid Core Wood Door W/ Frame | 2 | EA | 1151.514 | 2303.028
147 | (6'-0"x7'-6") Solid Core Wood Door W/ Frame | 1 | EA | 2925 | 2925
148 | (3'-0"x6'-8") Solid Core Wood Door W/ Frame | 4 | EA | 1298.7 | 5194.8
149 | (2'-2"x6'-8") Solid Core Wood Door W/ Frame | 1 | EA | 887.9 | 887.9
150 | (2'-6"x6'-8") Solid Core Wood Door W/ Frame | 6 | EA | 1082.25 | 6493.5
151 | (2'-10"x6'-8") Solid Core Wood Door W/ Frame | 2 | EA | 1225.107 | 2450.214
152 | (3'-8"x6'-8") Solid Core Wood Door W/ Frame | 2 | EA | 1584.414 | 3168.828
153 | (4'-0"x6'-8") Solid Core Wood Door W/ Frame | 2 | EA | 1731.6 | 3463.2
Door Trims
154 | Door Trims | 952 | LF | 4 | 3808
| Subtotal (Openings) |  |  |  |  | 112344.3825
DIVISION 09- FINISHES
Walls
First Floor
(4") New Framed Wall (75 LF & 10'-0" H)
155 | (2"x4") Metal Studs @ 16" O.C (57 EA & 574 LF) | 750 | SF | 4 | 3000
156 | (5/8") Gypsum Wall Board | 1500 | SF | 3 | 4500
157 | (2-11") Thick Batt Insulation | 750 | SF | 2 | 1500
158 | Mid Brace | 75 | LF | 8 | 600
159 | Sealant | 300 | LF | 2 | 600
160 | Top & Bottom Runner | 150 | LF | 8 | 1200
(6") New Framed Wall (7 LF & 10'-0" H)
161 | (2"x6") Metal Studs @ 16" O.C (6 EA & 63 LF) | 70 | SF | 6 | 420
162 | (5/8") Gypsum Wall Board | 140 | SF | 3 | 420
163 | (2-11") Thick Batt Insulation | 70 | SF | 2 | 140
164 | Mid Brace | 7 | LF | 8 | 56
165 | Sealant | 28 | LF | 2 | 56
166 | Top & Bottom Runner | 14 | LF | 8 | 112
Furring Wall (62 LF & 10'-0" H)
167 | (1 5/8") Metal Furring | 620 | SF | 5 | 3100
168 | (5/8") Gypsum Wall Board | 620 | SF | 3 | 1860
169 | R-7.1 Insulation | 620 | SF | 2 | 1240
170 | Sealant | 124 | LF | 2 | 248
171 | Top & Bottom Runner | 124 | LF | 8 | 992
Second Floor
(4") New Framed Wall (148 LF & 10'-0" H)
172 | (2"x4") Metal Studs @ 16" O.C (112 EA & 1123 LF) | 1480 | SF | 4 | 5920
173 | (5/8") Gypsum Wall Board | 2960 | SF | 3 | 8880
174 | (2-11") Thick Batt Insulation | 1480 | SF | 2 | 2960
175 | Mid Brace | 148 | LF | 8 | 1184
176 | Sealant | 592 | LF | 2 | 1184
177 | Top & Bottom Runner | 296 | LF | 8 | 2368
(6") New Framed Wall (7 LF & 10'-0" H)
178 | (2"x6") Metal Studs @ 16" O.C (6 EA & 63 LF) | 70 | SF | 6 | 420
179 | (5/8") Gypsum Wall Board | 140 | SF | 3 | 420
180 | (2-11") Thick Batt Insulation | 70 | SF | 2 | 140
181 | Mid Brace | 7 | LF | 8 | 56
182 | Sealant | 28 | LF | 2 | 56
183 | Top & Bottom Runner | 14 | LF | 8 | 112
(8") New Framed Wall (5 LF & 10'-0" H)
184 | (2"x8") Metal Studs @ 16" O.C (5 EA & 48 LF) | 50 | SF | 8 | 400
185 | (5/8") Gypsum Wall Board | 100 | SF | 3 | 300
186 | (2-11") Thick Batt Insulation | 50 | SF | 2 | 100
187 | Mid Brace | 5 | LF | 8 | 40
188 | Sealant | 20 | LF | 2 | 40
189 | Top & Bottom Runner | 10 | LF | 8 | 80
Furring Wall (87 LF & 10'-0" H)
190 | (1 5/8") Metal Furring | 870 | SF | 5 | 4350
191 | (5/8") Gypsum Wall Board | 870 | SF | 3 | 2610
192 | R-7.1 Insulation | 870 | SF | 2 | 1740
193 | Sealant | 174 | LF | 2 | 348
194 | Top & Bottom Runner | 174 | LF | 8 | 1392
Reflected Ceiling
First Floor
195 | (5/8") Gypsum Board Ceiling W/ Framing | 2326.48 | SF | 5 | 11632.4
Second Floor
196 | (5/8") Gypsum Board Ceiling W/ Framing | 1719.87 | SF | 5 | 8599.35
Exterior
197 | Smooth Stucco Finish. Stucco Band. (10'-0" H) | 5669 | SF | 4 | 22676
198 | Stucco Band | 256 | LF | 7 | 1792
199 | (3/4") Stucco Finish | 311 | LF | 7 | 2177
Finishes
First Floor
Floor
200 | Floor Wood 'FW-1' Manufacturer: DECO27 | 1831.79 | SF | 10 | 18317.9
201 | Floor Tile 'FT-1' Manufacturer: Villa Lagon Tile | 71.21 | SF | 15 | 1068.15
202 | Floor Tile 'FT-2' Manufacturer: CLE | 69.37 | SF | 15 | 1040.55
Wall Paint
203 | Paint 'PT-1' Manufacturer: Benjamin Moore | 4839.9 | SF | 2 | 9679.8
Reflected Ceiling
204 | (5/8") Gypsum Board Ceiling Paint | 2326.48 | SF | 5 | 11632.4
Base
205 | Wall Base Board 'BS-1' Manufacturer: Benjamin Moore | 355.06 | LF | 8 | 2840.48
Second Floor
Floor
206 | Floor Wood 'FW-1' Manufacturer: DECO27 | 1308.27 | SF | 10 | 13082.7
207 | Floor Tile 'FT-5' Manufacturer: Marble Systems | 232.29 | SF | 15 | 3484.35
208 | Floor Tile 'FT-4' Manufacturer: Marble Systems | 36.48 | SF | 15 | 547.2
209 | Floor Tile 'FT-3' Manufacturer: Marble Systems | 107.73 | SF | 15 | 1615.95
Wall Paint
210 | Paint 'PT-1' Manufacturer: Benjamin Moore | 5266.8 | SF | 2 | 10533.6
Reflected Ceiling
211 | (5/8") Gypsum Board Ceiling W/ Framing | 1719.87 | SF | 5 | 8599.35
Base
212 | Wall Base Board 'BS-1' Manufacturer: Benjamin Moore | 431.6 | LF | 8 | 3452.8
Door Paint
213 | (2'-8"x6'-8") Solid Core Wood Door W/ Frame | 2 | EA | 70.8624 | 141.7248
214 | (6'-0"x7'-6") Solid Core Wood Door W/ Frame | 1 | EA | 180 | 180
215 | (3'-0"x6'-8") Solid Core Wood Door W/ Frame | 4 | EA | 79.92 | 319.68
216 | (2'-2"x6'-8") Solid Core Wood Door W/ Frame | 1 | EA | 54.64 | 54.64
217 | (2'-6"x6'-8") Solid Core Wood Door W/ Frame | 6 | EA | 66.6 | 399.6
218 | (2'-10"x6'-8") Solid Core Wood Door W/ Frame | 2 | EA | 75.3912 | 150.7824
219 | (3'-8"x6'-8") Solid Core Wood Door W/ Frame | 2 | EA | 97.5024 | 195.0048
220 | (4'-0"x6'-8") Solid Core Wood Door W/ Frame | 2 | EA | 106.56 | 213.12
Door Trims
221 | Door Trims | 952 | LF | 3 | 2856
Wall Finishes
222 | Millwork 'M-3' | 35.46 | SF | 65 | 2304.9
223 | Millwork 'M-8' | 18.61 | SF | 65 | 1209.65
224 | Wall Tiles 'T-2' | 73.33 | SF | 15 | 1099.95
225 | Wall Tiles 'T-3' | 123.38 | SF | 15 | 1850.7
226 | Wall Tiles 'T-4' | 61.3 | SF | 15 | 919.5
227 | Wall Tiles 'T-5' | 83.84 | SF | 15 | 1257.6
228 | Wall Tiles 'T-6' | 152.42 | SF | 15 | 2286.3
229 | Wood Panel 'W-1' | 43.64 | SF | 10 | 436.4
230 | Wainscoating 'W-2' | 173 | SF | 8 | 1384
231 | Wood Panel 'W-3' | 425.99 | SF | 10 | 4259.9
232 | Wood Panel 'W-4' | 265 | SF | 10 | 2650
233 | Wood Panel 'W-5' | 460.51 | SF | 10 | 4605.1
234 | Wall Paper 'W-P' | 246.44 | SF | 8 | 1971.52
235 | Wall Paper 'WP-1' | 124.05 | SF | 8 | 992.4
236 | Wall Paper 'WP-2' | 64.23 | SF | 8 | 513.84
237 | Wall Paper 'WP-3' | 147.46 | SF | 8 | 1179.68
Stairs
238 | Stairs: Tread 'ST-1' : 14 EA Handrail 'ST-2' : 15 LF Guardrail 'ST-3' : 19 LF | 1 | EA | 3010 | 3010
| Subtotal (Finishes) |  |  |  |  | 224357.972
DIVISION 10- SPECIALITIES
Mill Work
239 | (14'-11 1/2"x7'-9 1/2") Lacquered Cabinetry | 1 | EA | 6000 | 6000
240 | Bar Base Cabinetry | 8.32 | LF | 135 | 1123.2
241 | Base Cabinetry | 41.64 | LF | 135 | 5621.4
242 | Vanity Base Cabinet | 33.8 | LF | 135 | 4563
243 | Wall Cabinetry | 25.11 | LF | 135 | 3389.85
244 | Cabinet 'M11' | 18.75 | LF | 130 | 2437.5
245 | Cabinet 'M12' | 8.2 | LF | 130 | 1066
246 | Closet | 70 | LF | 190 | 13300
247 | Full Height Cabinet 'M7' | 12.7 | LF | 190 | 2413
248 | Kitchen Island Cabinetry | 8.5 | LF | 135 | 1147.5
249 | Laundary Base Cabinets | 10.93 | LF | 135 | 1475.55
250 | Pantry | 5.27 | LF | 170 | 895.9
Countertop
251 | Backsplash 'T-1' | 48.51 | SF | 15 | 727.65
252 | Countertop | 5.88 | SF | 48 | 282.24
253 | Countertop | 5.46 | SF | 48 | 262.08
254 | Countertop 'S1' | 51.54 | SF | 48 | 2473.92
255 | Countertop 'S3' | 22.04 | SF | 48 | 1057.92
256 | Countertop 'S4' | 20.95 | SF | 48 | 1005.6
257 | Countertop 'S5' | 10.6 | SF | 48 | 508.8
258 | Countertop 'S6' | 10.87 | SF | 48 | 521.76
259 | Countertop 'S7' | 19.58 | SF | 48 | 939.84
260 | Kitchen Island 'S2' | 36.29 | SF | 110 | 3991.9
261 | Ceiling 'C-1' Model: Beam | 48.32 | LF | 15 | 724.8
| Subtotal (Specialties) |  |  |  |  | 55929.41
DIVISION 11- EQUIPMENT
262 | Range. Manufacturer: La Cornue Cornufe | 1 | EA | 2200 | 2200
263 | Wall Hood. Manufacturer: Wolf | 1 | EA | 2500 | 2500
264 | (30") All Fridge. Manufacturer: Thermador | 1 | EA | 2800 | 2800
265 | (18") All Freezer. Manufacturer: Thermador | 1 | EA | 2400 | 2400
266 | (30") Fridge & Bottom Freezer. Manufacturer: Thermador | 1 | EA | 2800 | 2800
267 | Heater Kit. Manufacturer: Thermador | 1 | EA | 2000 | 2000
268 | Dish Washer. Manufacturer: Thermador | 1 | EA | 1500 | 1500
269 | (30") Oven/Microwave Combo. Manufacturer: Thermador | 1 | EA | 1500 | 1500
270 | Ice Maker. Manufacturer: Scotsman | 1 | EA | 1200 | 1200
271 | Wine Storage. Manufacturer: Uline | 1 | EA | 3000 | 3000
272 | Washer. Manufacturer: Electrolux | 1 | EA | 1500 | 1500
273 | Dryer. Manufacturer: Electrolux | 1 | EA | 1500 | 1500
274 | (42") Outdoor Grill. Manufacturer: Wolf | 1 | EA | 1200 | 1200
| Subtotal (Equipment) |  |  |  |  | 26100
DIVISION 22- PLUMBING
Domestic
First Floor
Piping
275 | (1/2") Cold Water Pipe | 115.94 | LF | 12 | 1391.28
276 | (3/4") Cold Water Pipe | 34 | LF | 12 | 408
277 | (1 1/2") Cold Water Pipe | 24.99 | LF | 13 | 324.87
278 | (1/2") Hot Water Pipe | 85 | LF | 12 | 1020
279 | (1/2") Hot Water Return Pipe | 4.57 | LF | 12 | 54.84
280 | (3/4") Hot Water Pipe | 27 | LF | 12 | 324
281 | (3/4") Gas Pipe | 118.79 | LF | 12 | 1425.48
282 | (1/2") Gas Pipe | 10 | LF | 12 | 120
283 | End Cap | 3 | EA | 150 | 450
284 | Isolation Valve | 4 | EA | 250 | 1000
Second Floor
Piping
285 | (1/2") Cold Water Pipe | 116.83 | LF | 12 | 1401.96
286 | (3/4") Cold Water Pipe | 73.12 | LF | 12 | 877.44
287 | (1") Cold Water Pipe | 13.14 | LF | 13 | 170.82
288 | (1/2") Hot Water Pipe | 84 | LF | 12 | 1008
289 | (3/4") Hot Water Pipe | 58.93 | LF | 12 | 707.16
290 | (1") Hot Water Pipe | 13.58 | LF | 13 | 176.54
291 | (1") Hot Water Return Pipe | 13.38 | LF | 13 | 173.94
292 | (3/4") Gas Pipe | 24.45 | LF | 12 | 293.4
Sanitary
First Floor
293 | (2") Sanitary Pipe | 28 | LF | 14 | 392
294 | (3") Sanitary Pipe | 34 | LF | 15 | 510
295 | (1 1/2") Sanitary Pipe | 20 | LF | 13 | 260
296 | Clean Out | 2 | EA | 250 | 500
297 | AAV | 3 | EA | 250 | 750
Second Floor
298 | (2") Sanitary Pipe | 19.89 | LF | 14 | 278.46
299 | (3") Sanitary Pipe | 71.45 | LF | 15 | 1071.75
300 | (1 1/2") Sanitary Pipe | 40 | LF | 13 | 520
Plumbing Fixtures & Accessories
301 | Basin Sink | 1 | EA | 650 | 650
302 | Drain | 3 | EA | 300 | 900
303 | Drain. Manufacturer: Water Works | 5 | EA | 300 | 1500
304 | Faucet. Manufacturer: Kohler | 1 | EA | 350 | 350
305 | Faucet. Manufacturer: Kraus | 1 | EA | 350 | 350
306 | Faucet. Manufacturer: Waterworks | 7 | EA | 350 | 2450
307 | Faucet. Manufacturer: Brizo | 1 | EA | 350 | 350
308 | Hand Shower. Manufacturer: Water Works | 3 | EA | 600 | 1800
309 | Hand Shower. Manufacturer: Water Works | 2 | EA | 600 | 1200
310 | Hand Towel Ring. Manufacturer: Waterworks | 1 | EA | 120 | 120
311 | Mirror. Manufacturer: SDK | 1 | EA | 150 | 150
312 | Prep Drain | 1 | EA | 300 | 300
313 | Prep Faucet. Manufacturer: Brizo | 1 | EA | 350 | 350
314 | Prep Sink. Manufacturer: Kohler | 1 | EA | 550 | 550
315 | Pressure Balancing Valve. Manufacturer: Water Works | 4 | EA | 300 | 1200
316 | Rain Head | 1 | EA | 300 | 300
317 | Rain Head Arm. Manufacturer: Water Works | 1 | EA | 300 | 300
318 | Shower Arm. Manufacturer: Water Works | 5 | EA | 300 | 1500
319 | Shower Head. Manufacturer: Water Works | 5 | EA | 300 | 1500
320 | Shower Trim. Manufacturer: Water Works | 11 | EA | 120 | 1320
321 | Sink. Manufacturer: Elkay | 2 | EA | 750 | 1500
322 | Sink. Manufacturer: Kohler | 1 | EA | 750 | 750
323 | Sink. Manufacturer: Water Works | 5 | EA | 750 | 3750
324 | Thermostatic Valve. Manufacturer: Water Works | 1 | EA | 350 | 350
325 | Toilet Paper Holder. Manufacturer: Water Works | 6 | EA | 120 | 720
326 | Toilet. Manufacturer: Toto | 6 | EA | 850 | 5100
327 | Towel Bar. Manufacturer: Water Works | 5 | EA | 120 | 600
328 | Towel Hook. Manufacturer: Water Works | 5 | EA | 120 | 600
329 | Two Way Diverter Valve. Manufacturer: Water Works | 3 | EA | 300 | 900
330 | Volume Control Valve. Manufacturer: Water Works | 3 | EA | 300 | 900
331 | Robe Hook | 4 | EA | 120 | 480
| Subtotal (Plumbing) |  |  |  |  | 48399.94
DIVISION 23 - HVAC
First Floor
Ducts
332 | (10x8) Fiber Glass Duct | 2.22 | LF | 18 | 39.96
333 | (16x10) Fiber Glass Duct | 28.43 | LF | 26 | 739.18
334 | (22x10) Fiber Glass Duct | 15.37 | LF | 32 | 491.84
335 | (26x10) Fiber Glass Duct | 12.96 | LF | 36 | 466.56
336 | (8" Dia) Flexible Duct | 116.9 | LF | 28 | 3273.2
337 | (6" Dia) Flexible Duct Work | 11.86 | LF | 26 | 308.36
338 | (8" Dia) Fiber Glass Duct | 26.85 | LF | 28 | 751.8
339 | (6" Dia) Fiber Glass Duct | 17.75 | LF | 26 | 461.5
340 | (3/4" Dia) Refrigerant Or Condensate Pipe | 204.02 | LF | 12 | 2448.24
341 | (4" Dia) Fiber Glass Duct | 15.37 | LF | 24 | 368.88
Fixtures
342 | (16x10) MUA | 1 | EA | 155 | 155
343 | Air Handling Unit 'AHU-1' | 1 | EA | 3000 | 3000
344 | Exhaust Fan 'EF-A' | 2 | EA | 550 | 1100
345 | Makeup Air Grille | 1 | EA | 3000 | 3000
346 | Return Grille 'R' W/ 1375 CFM | 1 | EA | 155 | 155
347 | Return Grille 'R1' W/ 225 CFM | 2 | EA | 155 | 310
348 | Return Grille 'R1' W/ 200 CFM | 1 | EA | 155 | 155
349 | Return Grille 'R1' W/ 250 CFM | 1 | EA | 155 | 155
350 | Return Grille 'R2' W/ 600 CFM | 1 | EA | 155 | 155
351 | Supply Diffuser 'S1' W/ 225 CFM | 3 | EA | 155 | 465
352 | Supply Diffuser 'S1' W/ 150 CFM | 2 | EA | 155 | 310
353 | Supply Diffuser 'S1' W/ 25 CFM | 1 | EA | 155 | 155
354 | Supply Diffuser 'S1' W/ 200 CFM | 3 | EA | 155 | 465
355 | Supply Diffuser 'S1' W/ 75 CFM | 1 | EA | 155 | 155
356 | Supply Diffuser 'S1' W/ 50 CFM | 2 | EA | 155 | 310
357 | Thermostat | 2 | EA | 450 | 900
358 | Fan Coil Unit 'FCU-4' | 1 | EA | 3000 | 3000
359 | Condensing Unit 'CU-1' | 1 | EA | 3000 | 3000
360 | Condensing Unit 'CU-2' | 1 | EA | 3000 | 3000
361 | Condensing Unit 'CU-3' | 1 | EA | 3000 | 3000
362 | Condensing Unit 'CU-4' | 1 | EA | 3000 | 3000
Fittings
363 | Back Draft Damper | 1 | EA | 155 | 155
364 | Transition | 3 | EA | 155 | 465
Second Floor
Ducts
365 | (4" Dia) Duct | 7 | LF | 24 | 168
366 | (8" Dia) Flexible Duct | 132.59 | LF | 28 | 3712.52
367 | (4" Dia) Flexible Duct | 77.89 | LF | 24 | 1869.36
368 | (10" Dia) Flexible Duct | 15.09 | LF | 30 | 452.7
369 | (6" Dia) Flexible Duct | 12.09 | LF | 26 | 314.34
370 | (16x8) Fiber Glass Duct | 8.59 | LF | 24 | 206.16
371 | (20x8) Fiber Glass Duct | 23.05 | LF | 28 | 645.4
372 | (14x10) Fiber Glass Duct | 10.15 | LF | 24 | 243.6
373 | (4" Dia) Fiber Glass Duct | 17.44 | LF | 24 | 418.56
374 | (6" Dia) Fiber Glass Duct | 21.5 | LF | 26 | 559
375 | (10x8) Fiber Glass Duct | 13.51 | LF | 18 | 243.18
376 | (12x8) Fiber Glass Duct | 6.41 | LF | 20 | 128.2
377 | (16x10) Fiber Glass Duct | 14.73 | LF | 26 | 382.98
378 | (8" Dia) Fiber Glass Duct | 13 | LF | 28 | 364
379 | (3/4" Dia) Refrigerant Or Condensate Pipe | 116.6 | LF | 12 | 1399.2
Fixtures
380 | Exhaust Fan 'EF-B' | 1 | EA | 550 | 550
381 | Exhaust Fan 'EF-A' | 4 | EA | 550 | 2200
382 | Supply Diffuser 'S1' W/ 25 CFM | 7 | EA | 155 | 1085
383 | Supply Diffuser 'S1' W/ 150 CFM | 4 | EA | 155 | 620
384 | Supply Diffuser 'S1' W/ 400 CFM | 2 | EA | 155 | 310
385 | Supply Diffuser 'S1' W/ 200 CFM | 1 | EA | 155 | 155
386 | Supply Diffuser 'S1' W/ 50 CFM | 2 | EA | 155 | 310
387 | Return Grille 'R1' W/ 225 CFM | 2 | EA | 155 | 310
388 | Return Grille 'R1' W/ 100 CFM | 1 | EA | 155 | 155
389 | Return Grille 'R1' W/ 550 CFM | 2 | EA | 155 | 310
390 | Return Grille 'R1' W/ 175 CFM | 4 | EA | 155 | 620
391 | Thermostat | 2 | EA | 450 | 900
392 | Air Handling Unit 'AHU-3' | 1 | EA | 3000 | 3000
393 | Air Handling Unit 'AHU-2' | 1 | EA | 3000 | 3000
Fittings
394 | Transition | 5 | EA | 155 | 775
395 | Back Draft Damper | 1 | EA | 155 | 155
Roof
Ducts
396 | (8") Dia Duct | 10 | LF | 28 | 280
397 | (4") Dia Duct | 40 | LF | 24 | 960
398 | (6") Dia Duct | 10 | LF | 26 | 260
| Subtotal (HVAC) |  |  |  |  | 62976.72
DIVISION 26- ELECTRICAL
Power
First Floor
399 | Duplex Receptacle | 28 | EA | 125 | 3500
400 | Duplex Receptacle W/ GFI | 12 | EA | 130 | 1560
401 | Duplex Receptacle W/ GFI & WP | 7 | EA | 135 | 945
402 | Quadplex Receptacle | 2 | EA | 130 | 260
403 | Data Jack | 1 | EA | 155 | 155
404 | Switched Receptacle | 3 | EA | 160 | 480
405 | Single Pole Switch | 2 | EA | 160 | 320
406 | Quadplex Receptacle W/ GFI | 2 | EA | 135 | 270
407 | GFCI Receptacle | 16 | EA | 130 | 2080
408 | Junction Box | 5 | EA | 350 | 1750
409 | Special Receptacle | 1 | EA | 130 | 130
410 | Panel 'PD' | 1 | EA | 1200 | 1200
411 | Disconnect Switch | 5 | EA | 200 | 1000
412 | Panel 'MDP' | 1 | EA | 1200 | 1200
413 | Air Switch | 1 | EA | 160 | 160
414 | Electrical Disposal | 1 | EA | 200 | 200
415 | Motor Rated Switch | 2 | EA | 200 | 400
Second Floor
416 | Switched Receptacle | 8 | EA | 160 | 1280
417 | Duplex Receptacle | 24 | EA | 125 | 3000
418 | 4-Way Switch | 4 | EA | 180 | 720
419 | 3-Way Switch | 7 | EA | 170 | 1190
420 | Data Jack | 4 | EA | 155 | 620
421 | Disconnect Switch | 2 | EA | 200 | 400
422 | GFCI Receptacle | 5 | EA | 130 | 650
423 | Single Pole Receptacle | 1 | EA | 160 | 160
Lighting
First Floor
424 | Recessed Light | 52 | EA | 240 | 12480
425 | Single Pole Switch | 33 | EA | 160 | 5280
426 | Smoke Sensor | 1 | EA | 235 | 235
427 | Wall Mounted Light | 15 | EA | 240 | 3600
428 | Ceiling Fan | 3 | EA | 700 | 2100
429 | Surface Mounted Light | 5 | EA | 230 | 1150
430 | Jamb Switch | 2 | EA | 160 | 320
431 | LED Strip Light | 21.31 | LF | 8 | 170.48
432 | Surface Mounted Light | 4 | EA | 230 | 920
433 | 3-Way Switch | 1 | EA | 170 | 170
434 | Recessed Light | 3 | EA | 250 | 750
435 | Fluoresent Light | 1 | EA | 250 | 250
436 | Surface Mounted Light | 4 | EA | 240 | 960
437 | Smoke & CO Sensor | 4 | EA | 235 | 940
Second Floor
438 | Recessed Light | 33 | EA | 250 | 8250
439 | Wall Mounted Light | 9 | EA | 240 | 2160
440 | Surface Mounted Light | 13 | EA | 240 | 3120
441 | Single Pole Switch | 31 | EA | 160 | 4960
442 | LED Strip Light | 45.02 | LF | 8 | 360.16
443 | Smoke & CO Sensor | 5 | EA | 235 | 1175
444 | Recessed Light | 1 | EA | 250 | 250
445 | Light Fixture | 1 | EA | 250 | 250
446 | Ceiling Fan | 4 | EA | 750 | 3000
447 | Jamb Switch | 1 | EA | 160 | 160
448 | 3-Way Switch | 5 | EA | 170 | 850
| Subtotal (Electrical) |  |  |  |  | 77490.64
SUBTOTAL | [5 empty] | 863060.7145
OVERHEAD & PROFIT |  | 15% |  |  |  | 129459.1072
INSURANCE |  | 3% |  |  |  | 25891.8214
CONTINGENCY |  | 7% |  |  |  | 60414.25
TOTAL BASE BID | [5 empty] | 1078825.8931